PART 1	GENERAL

  - SUMMARY

- This section includes the following:

- Fluid applied seamless flooring and integral formed base.

- Joint, edge and termination strips

- Prior to installation of structural floor slab, advise [General Contractor] [Construction Manager], in writing, of all requirements of concrete substrate regarding finish, level tolerance, curing and below substrate vapor barrier, see INSPECTION in Part 3

- Locate all flexible joints required. See submittals below.

- Accessories necessary for complete installation.

  - RELATED SECTIONS

- Section 03300 – Cast-in-Place concrete

- Concrete sub-floor to be level (maximum variation not to exceed 1/4inch in 10 feet) and to have steel troweled finish. No curing agents or other additives which would prevent bonding should be used unless the mechanical surface preparation method completely removes the curing agent residue or sealer.

- Slabs on grade must have an efficient puncture resistant vapor barrier placed directly under the slab.

- Sealants: Section 07920

- Gypsum Drywall: Section 09250

- Adjacent Floor Finishes: Division 9

  - REFERENCES

- ASTM C-307, Test Method for Tensile Strength of Chemical –Resistant Mortars

- ASTM C-501, Test Method for Relative Resistance to Wear Unglazed Ceramic Tile by the Taber Abraser

- ASTM C-531, Test Method for Linear Shrinkage and Coefficient of Thermal expansion of Chemical-Resistant Mortars, Grouts and Monolithic Surfacing

- ASTM C-579, Test Methods for Compressive Strength of Chemical-Resistant Mortars and Monolithic Surfaces

- ASTM C-580, Test Method for Flexural Strength and Modulus of Elasticity of Chemical-Resistant Mortars, grouts and Monolithic Surfaces

- ASTM C-884, Test Method for Thermal Compatibility between Concrete and Epoxy Resin Overlay

- ASTM D-570, Water Absorption of Plastics

- ASTM D-695, Compression Properties of Rigid Plastic

- MIL D-3 134 F, Impact Resistance, Section 4.7.3.

- MIL D-3 134 F, Indentation Resistance, Section 4.7.4.

- MIL D-3234 F, Resistance to Elevated Temperature, Section 4.7.5.

- ACI 301, Specifications for Structural Concrete for Buildings (most recent edition). Committee in Concrete 403 bulletin 59-43, Bond Strength to Concrete.

  - DEFINITIONS

- The resinous flooring system specified under this section is referenced on the drawings as ‘Perdüre SLE System”.

  - SYSTEM DESCRIPTION

- The Perdüre SLE flooring system shall consist of preparation of the substrate, the furnishing and application of a self-leveling pigmented epoxy based flooring system with Polyaspartic Polyurea topcoat. The system shall have the color specified by the Owner / Architect with a nominal thickness of 100mils. It shall be applied to the prepared area(s) as defined in the plans strictly in accordance with the Manufacturer’s recommendations. The top coat shall be two component, 98% solids Polyaspartic Polyurea.

  - SUBMITTALS

- Submit under provisions of Section 01300.

- Product Data: Manufacturer’s data sheets on each product to be used, including:

- Surface preparation instructions and recommendations

- Storage and handling requirements and recommendations

- Installation methods

- Selection samples: Submit 6” X 6”cured samples of flooring system indicating color combination and no-skid properties. Approved samples will be used during installation for product match.

- Certified Test: Submit two copies of suppliers/manufacturers written certification that flooring system meets or exceeds required properties.

- Shop Drawings: Shop Drawings shall be furnished showing installation of cove base and termination details and details at floor material transitions and where adjoining equipment. Locate and provide detailing for flexible joints required for flooring in area of installation.

- Installer’s Project References: Submit list of successfully completed projects, including project name and location, name of architect, and type and quantity of decorative concrete floor finish systems applied.

- Maintenance Instructions: Submit current copies of the flooring manufacturer’s printed recommendations on maintenance methods and products. Submit in accordance with Section 01730 – Operation and Maintenance Manuals.

  - QUALITY ASSURANCE

- Installer Qualifications:

- Successful experience in application of similar decorative flooring systems.

- Employ persons trained for application of decorative concrete flooring systems.

- The special concrete finish manufacturer shall certify applicator.

- Applicator shall be familiar with the specified requirements and the methods needed for proper performance of work of these sections. Applicator must have availability of proper equipment to perform work within scope of this project on timely basis. Applicator should have successfully performed a minimum of 3 projects of at least 2500ft2 each.

- Installer to verify locations of all flexible joints required by the provisions of this Section and by the recommendations of the related material manufacturers.

- Installer to keep daily log of the date of installation, room number, type, color and method of application of product being installed. Log must be available for inspection by the Architect upon request.

- Manufacturer’s Certification:

- Provide a letter of certification from concrete finish manufacturer stating that installer is certified applicator of special concrete finishes, and is familiar with proper procedures and installation requirements required by the manufacturer.

- Mock-ups: Provide a mock-up for evaluation of surface preparation techniques and application workmanship.

- Finish areas designated by Architect.

- Do not proceed with remaining work until workmanship, color, and sheen are approved by the Architect.

- Refinish mock-up area as required to produce acceptable work.

- Pre-Installation Conference:

- Conduct conference at project site to comply with requirements in Division 1 Section “Project Management and Coordination”.

  - DELIVERY, STORAGE AND HANDLING

- Deliver and store packaged materials in original containers with seals unbroken and labels intact until time of use. Prevent damage or contamination to materials by water, freezing, foreign matter or other causes.

- The installer shall be provided with a storage area for all components. Store materials in dry protected area at a temperature between 600F to 800F. Deliver and store materials on site at least 24 hours before work begins.

- The Installer shall be provided with adequate disposal facilities for non-hazardous waste generated during installation of the flooring system.

- Follow all manufacturer’s specific instructions and prudent safety practices for storage and handling.

  - PROJECT CONDITIONS

- Maintain the ambient room and the floor temperatures between 600F and 800F for a period extending from 72hours before, during and after floor installation. Concrete to receive surfacing shall have cured for at least 28days and shall have been free of water for at least 7 days. If the temperature cannot be maintained within the range, consult the Manufacturer.

- The relative humidity in the specific location of the application shall be less than 85% and the surface temperature shall be at least 50F above the dew point.

- Illumination: Apply flooring system only where a minimum of 30footcandles exist when measured 3ft from surface.

- Advise other trades of fixtures and fittings not to be installed until flooring is cured and protected.

- Conditions of new concrete to be coated with epoxy material.

- Concrete shall be moisture cured for a minimum of 7 days and have fully cured a minimum of 28 days in accordance with ACI-308 prior to the application of the coating system pending moisture tests.

- Concrete shall have a flat rubbish finish, float or light trowel finish (a hard steel trowel finish is neither necessary nor desirable).

- Sealers and curing agents should not be used.

- Concrete surfaces on grade shall have been constructed with a vapor barrier to protect against effects of vapor transmission and possible delamination of the system.

- Safety Requirements

- All open flames and spark-producing equipment shall be removed from the work area prior to commencement of application.

- “No Smoking” signs shall be posted at the entrances to the work area.

- The Owner / Architect shall be responsible for the removal of foodstuffs from the work area.

- Non-related personnel in the work area shall be kept to a minimum.

  - PROTECTION

- Protect adjacent surfaces not scheduled to receive the flooring by masking, or by other means, to maintain these surfaces free of the flooring material.

- Provide adequate ventilation and fire protection at all mixing and placing operations. Prohibit smoking or use of spark or flame producing devices within 50 feet of any mixing or placing operation.

- Provide polyethylene or rubber gloves or protective creams for all workmen engaged in applying products containing epoxy, polyurethane or polyaspartic polyurea.

PART 2	PRODUCTS

- MANUFACTURER

- Acceptable Manufacturer & Distributor: Düraamen Engineered Products Inc. with its corporate office located at 116 West 23rd Street, 5th Floor. New York, NY 10011. Tel: 866.835.6595 | F: 866.629.4157 | Email: info@duraamen.com website: www.duraamen.com

- Substitutions: Not permitted

- Requests for substitutions will be considered in accordance with provisions of Section 01600.

- Obtain products from a single supplier.

  - PRODUCTS

- Flexible Membrane: Flexible Epoxy, Perdüre FE80

- Prime Coat: Two-part penetrating epoxy, Perdüre E02 or moisture vapor control epoxy primer, Perdüre MVT

- Body coat – Two-part, 100% solids epoxy body coat, Perdüre E10 with aggregates and self-leveling fillers

- Grout Topcoat (s): Clear two-part, 98% solids Polyaspartic Polyurea.

- Joint and Crack Fillers: Perdüre EJF, Perdüre ECF

  - SYSTEM PROPERTIES

- Primer – Perdüre E02

- Viscosity @ 750F: 400-450cps

- Mixing ratio: 2 parts A to 1 parts B by volume

- Solids Content: 100% solids by volume

- Weight per gal: 9.00-9.50 lb/gal (mixed)

- Body Coat Properties – Perdüre E10 blended with aggregates and self leveling fillers

- Compressive Strength, ASTM D-695: 13,000psi

- Ultimate Tensile Strength, ASTM D-638: 4,200psi

- Tensile Elongation, ASTN D-638: 6-8%

- Flexural Strength, ASTM D-790: 7,800psi

- Flexural Modulus, ASTM D-790: 2.5 X 10-6

- Hardness, ASTM D-2240: 80-85 Shore D

- Impact Resistance, MIL D-3134F  4.7.3: Withstands 16ft/lb without cracking, delamination or chipping

- Abrasion Resistance, ASTM C-501: 32mg

- Bond Strength to Concrete, ACI COMM #403, Bulletin 59-43: 250psi (100% concrete failure)

- Resistance to Elevated Temperature, MIL D-3134F 4.7.4: N slip or flow at required temperature of 1580F

- Coefficient of friction, ASTM D-2047: 0.80

- Water Absorption, ASTM D-570: Nil

- Thermal Shock Resistance, ASTM C-884: Passes

- Fungus & Bacteria Growth, MIL F 52505 4.4.2.11: Will not support growth of fungus or bacteria when subjected to mildew and bacteria tests

- Flammability, ASTM D-635: Self Extinguishing

- Top coat, Perdüre P70

- Percent Solids: 98%

- VOC: 35.8gm/L

- Weight per gal: 8.77 lb/gal (mixed)

- Tensile strength, ASTM D412: 3000-4000

- Viscosity @ 750F: 350-400cps

- Mixing Ratio: 2 parts A to 1 parts B by volume

- Pot life: 20-30minutes

  - Finishes

- Color as selected by Architect from the manufacturer’s standard patterns.

PART 3	EXECUTION

- EXAMINATION

- Examine substrates, areas and conditions, with Applicator present, for compliance with requirements for maximum moisture content, installation tolerances and other conditions affecting flooring performance.

- Verify that substrates and conditions are satisfactory for flooring installation and comply with requirements specified.

- PREPARATION

  - General

- New and existing concrete surfaces shall be free of oil, grease, curing compounds, loose particles, moss, algae growth, laitance, friable matter, dirt and bituminous products.

- Moisture Testing: Perform anhydrous calcium chloride test ASTM F 1869-98.

    - Perform three tests for the first 1,000ft2 and then one test per 1000ft2 after that.

    - Application will proceed only when the vapor/moisture emission rates from the slab is less than and not higher than 3lb/1000ft2/24hr.

    - If the vapor drive exceeds 3lb/1000ft2/24hr then the Owner and/or Engineer shall be notified and advised of an additional cost for the possible installation of a vapor mitigation system that has been approved by the manufacturer or other means to lower the value to the acceptable limit.

- There shall be no visible moisture present on the surface at the time of application of the system. Compressed oil-free air and/or a light passing of a propane torch may be used to dry the substrate.

- Mechanical surface preparation

- Shot blast all surfaces to receive flooring system with a mobile steel shot, dust recycling machine. All surface and embedded accumulations of paint, toppings hardened concrete layers, laitance, power trowel finishes and other similar surface characteristics shall be completely removed leaving a bare concrete surface having a profile of CSP 3-5 as described by the International Concrete Repair Institute.

- Floor areas inaccessible to the mobile blast machines shall be mechanically abraded to the same degree of cleanliness, soundness and profile using diamond grinders, needle guns, bush hammers, or other suitable equipment.

- Where the perimeter of the substrate to be coated is not adjacent to a wall or curb, a minimum 1/4inch key cut shall be made to properly seat the system, providing a smooth transition between areas. The detail cut shall also apply to drain perimeters and expansion joint edges.

- Cracks and joints (non-moving) greater than 1/8inch wide are to be chiseled or chipped-out and repaired per manufacturer’s recommendations.

- At spalled or worn areas, mechanically remove loose or delaminated concrete to a sound concrete and match per manufacturers’ recommendations.

- INSTALLATION

- General

- The system shall be applied in four distinct steps as listed below:

- Substrate preparation

- Priming

- Base coat application

- Topcoat application

- Immediately prior to the application of any component of the system, the surface shall be dry and any remaining dust or loose particles shall be removed using a vacuum or clean, dry, oil-free compressed air.

- The handling, missing and addition of components shall be performed in a safe manner to achieve the desired results in accordance with the Manufacturer’s recommendations.

- The system shall follow the contour of the substrate unless pitching or other leveling work has been specified by the architect.

- A neat finish with well-defined boundaries and straight edges shall be provided by the Applicator.

- Primer

- The primer shall be Perdüre E02 that is mixed at the ratio of 2 parts resin to 1 part hardener as per the Manufacturer’s instructions

- The primer shall be applied by flat squeegee and back rolled at the rate of 250ft2/gal to yield a dry film thickness of 5-6mils.

- Body Coat

- The body coat shall be comprised of three components, a resin, hardener, aggregate and fillers as supplied by the Manufacturer.

- The resin shall be added to the hardener and thoroughly mixed into which the aggregate and fillers are added and mixed by suitably approved mechanical means.

- The base coat shall be applied over horizontal surfaces using “v’ notched squeegee to yield a thickness of 90mils. The area is then backed rolled with a plastic spiked roller to ensure even distribution of aggregates.

- Topcoat

- The topcoat shall be Perdüre P70, roller applied at the rate of 400ft2/gal to yield a dry film thickness of 8-10mils.

- The finish floor will have a nominal thickness of 100mils.

- FIELD QUALITY CONTROL

- Tests, Inspection

- The following tests shall be conducted by the Installer:

- Air and Substrate temperature and dew point if applicable.

- Coverage rates: Rates for all layers shall be monitored by checking quantity of material used against the area covered.

- CURING & PROTECTION

- Allow the floor system to cure in compliance with manufacturer’s directions, taking care to prevent their contamination during stages of application and prior to completion of the curing process.

- Perform detail cleaning at floor termination, to leave cleanable surface for subsequent work of other sections.

- Protect finished work until fully cured in accordance with manufacturer’s recommendations.

# Text boxes

fluid applied flooring
self-leveling epoxy flooring

Section 096700